Toll Free: 1-800-590-0688

Tel: (916) 383-6800

Fax (916) 383-77914

info@nttworldwide.com

Sample Data Sheet

Send

Samples

to:

Northern Technology & Testing, Inc.

8140 Industrial Parkway #8

Sacramento, CA 95824

http://www.nttworldwide.com

Lubrication Fluids

?Required

?DGA PlusTM        Optional

?Acid                ?Moisture

?IFT                    if >25kv or Silicone

?Color No.        ?Specific Gravity

?Visual Exam   ?Power Factor  25?C

?Dielectric D877

Main	LTC

OCB   	REG

Bank #

Phase #

Main	LTC

OCB   	REG

Bank #

Phase #

Main	LTC

OCB   	REG

Bank #

Phase #

Main	LTC

OCB   	REG

Bank #

Phase #

DGA EXPERT SYSTEMSTM

Fully Independent Lab Services

LTC-OCB-REGULATOR-RECTIFIER PACKAGES

?1 - BASIC	? 2 - ANNUAL	? 4 - FULL

?DGA PlusTM	?Package #1	?Package #3

?Moisture	?Specific Gravity	?Viscosity

?Acid	?Power Factor 25?C	?Oxidation Inhibitor

?IFT	? 3 - BASELINE

?Color No.	?Package #2

?Visual Exam	?Power Factor 100?C

?Dielectric D877	?Metal & PCB Content

?1 - BASIC	? 2 - ANNUAL	? 3 - BASELINE	? 4 - FULL ANALYSIS

DGA & Oil Screen	Routine Maintenance	Newly Filled Equipment	Comprehensive/Investigative

Cylinder/Syringe+16oz.bottle	Cylinder/Syringe+16oz.bottle	Cylinder/Syringe+16oz.bottle	Cylinder/Syringe+2x16oz.bottle

?DGA PlusTM	?DGA PlusTM	?DGA PlusTM		?DGA PlusTM

?Moisture	?Moisture	?Moisture	?Power Factor 100?C	?Moisture	?Power Factor 100?C

?Acid	?Acid	?Acid	?Metal Content	?Acid	?Viscosity

?IFT	?IFT	?IFT	?PCB Content	?IFT	?Metal Content

?Color No.	?Color No.	?Color No.	?Furanic Analysis	?Color No.	?PCB Content

?Visual Exam	?Visual Exam	?Visual Exam		?Visual Exam	?Furanic Analysis

?Dielectric D877	?Dielectric D877	?Dielectric D877	?Dielectric D877	?Oxidation Inhibitor

?Specific Gravity	?Specific Gravity	?Specific Gravity

?Power Factor 25?C 	?Power Factor 25?C	?Power Factor 25?C

POWER TRANSFORMER PACKAGES												NTT TechCheckTM

?	Dissolved Gas Analysis-DGA PlusTM	D3612A	50	ml	1.7	oz

?	Moisture in Oil	D1533B	20		0.7

?	Interfacial Tension (IFT)	D971	40		1.4

?	Acid Number	D974	12		0.4

?	Color Number & Visual Examination	D1524	5		0.2

?	Dielectric Breakdown Voltage	D877	200		7

?	Dielectric Breakdown Voltage 0.04" 	D1816	500		17

?	Dielectric Breakdown Voltage 0.08" 	D1816	500		17

?	Power Factor @ 25oC  ? @ 100oC	D924	100		3.7

?	Specific Gravity	D1298	11		0.4

?	Kinematic Viscosity	D445	7		0.3

?	Oxidation Inhibitor	D2668	7		0.3

?	Flash Point  ? Fire Point 	D92	75		2.0

?	Trace Silicone in Mineral Oil  	D2144	7		0.3	oz

?	PCBs-in-Oil	EPA 600-4-81-045	7		0.3

?	Metals(7 Metals:Ag,Al,Cu,Fe,Pb,Sn,Zn)	D3635	5		0.2

?	Furfural Analysis	D5837	20		0.7

?	Corrosive Sulphur	D1275	240		8

?	Laser Particle Count	ISO	100		3.7

?Other______________________________________________________________

BILLING INFORMATION   ? Same

CUSTOMER INFORMATION

Contact Name												Account #

Company

Address

City, State, Zip

Phone/Fax/Email

Contact Name											P.O. #

Company

Address

City, State, Zip

Phone/Fax/Email

Date Sampled

Container

No. & Type

? Location

| ? Transformer No./Address | ? Serial No. |
| --- | --- |

? MFR

| ? Yr Built/Rebuilt | ? Main/LTC ? Bank/Phase |
| --- | --- |

? KVA

| ? Temp(°C) | RUSHY/N |
| --- | --- |

DGA

PCE

Nitrogen Blanket

Conservator

Free-Breathing Unit

Desiccant

Sealed

Other___________

Temp

DGA

PCE

Temp

DGA

PCE

Nitrogen Blanket

Conservator

Free-Breathing Unit

Desiccant

Sealed

Other___________

Temp

DGA

PCE

Temp

|  | Notes: |
| --- | --- |

Receive Date: __/___/__

Delivery Method:

USPS Fedex UPS DHL

Drop-Off Other_____________

Send Additional Containers:

____Syringes   _____Poly Bottles

____ Cylinders ______PCB Vials

Date Requested:____/____/____

NETA Guildeline

?Basic Analysis

?Metals Analysis

?Particle Count

?Acid Number

?Viscosity

?Glycol/Anti-Freeze

contamination

?Additives

Nitrogen Blanket

Conservator

Free-Breathing Unit

Desiccant

Sealed

Other___________

Nitrogen Blanket

Conservator

Free-Breathing Unit

Desiccant

Sealed

Other___________