[image: image1.jpg]NORTHERN TECHNOLOGY & TESTING




[image: image2.png]PLUS




[image: image3.png]DJ| =
D

HSTIGIEHINGY

Metal Cylinders - Glass Syringes







	Main	LTC


	OCB   	REG


Bank #





Phase #





	Main	LTC


	OCB   	REG


Bank #





Phase #





Toll Free: 1-800-590-0688


Tel: (916) 383-6800


Fax (916) 383-7794


info@nttworldwide.com





Sample Data Sheet





Send 


Samples 


to:








Northern Technology & Testing, Inc.


8140 Industrial Parkway #11


Sacramento, CA 95824


http://www.nttworldwide.com





LTC-OCB-REGULATOR-RECTIFIER PACKAGES





1 - BASIC	 2 - ANNUAL	 4 - FULL 


DGA PlusTM	Package #1	Package #3


Moisture	Specific Gravity	Viscosity


Acid	Power Factor 25C	Oxidation Inhibitor


IFT	 3 - BASELINE			


Color No.	Package #2


Visual Exam	Power Factor 100C


Dielectric D1816	Metal & PCB Content





1 - BASIC	 2 - ANNUAL	 3 - BASELINE	 4 - FULL ANALYSIS


DGA & Oil Screen	Routine Maintenance	Newly Filled Equipment	Comprehensive/Investigative


Cylinder/Syringe+16oz.bottle	Cylinder/Syringe+16oz.bottle	Cylinder/Syringe+16oz.bottle	Cylinder/Syringe+2x16oz.bottle


DGA PlusTM	DGA PlusTM	DGA PlusTM		DGA PlusTM


Moisture	Moisture	Moisture	Power Factor 100C	Moisture	Power Factor 100C


Acid	Acid	Acid	Metal Content	Acid	Viscosity


IFT	IFT	IFT	PCB Content	IFT	Metal Content


Color No.	Color No.	Color No.	Furanic Analysis	Color No.	PCB Content


Visual Exam	Visual Exam	Visual Exam		Visual Exam	Furanic Analysis


Dielectric D1816	Dielectric D1816	Dielectric D1816	Dielectric D1816	Oxidation Inhibitor	


	Specific Gravity	Specific Gravity	Specific Gravity


	Power Factor 25C 	Power Factor 25C	Power Factor 25C





POWER TRANSFORMER PACKAGES												NTT TechCheckTM





	Dissolved Gas Analysis-DGA PlusTM	D3612A	50	ml	1.7	oz


	Moisture in Oil	D1533B	20		0.7


	Interfacial Tension (IFT)	D971	40		1.4


	Acid Number	D974	12		0.4


	Color Number & Visual Examination	D1524	5		0.2


	Dielectric Breakdown Voltage	D877	200		7


	Dielectric Breakdown Voltage 0.04" 	D1816	500		17


	Dielectric Breakdown Voltage 0.08" 	D1816	500		17


	Power Factor @ 25oC   @ 100oC	D924	100		3.7


	Specific Gravity	D1298	11		0.4


	Kinematic Viscosity	D445	7		0.3


	Oxidation Inhibitor	D2668	7		0.3


	Flash Point   Fire Point 	D92	75		2.0


	Trace Silicone in Mineral Oil  	D2144	7		0.3	oz


	PCBs-in-Oil	EPA 600-4-81-045	7		0.3


	Metals(7 Metals:Ag,Al,Cu,Fe,Pb,Sn,Zn)	D3635	5		0.2


	Furfural Analysis	D5837	20		0.7


	Corrosive Sulphur	D1275	240		8


	Laser Particle Count	ISO	100		3.7


Other______________________________________________________________





BILLING INFORMATION    Same





CUSTOMER INFORMATION





Contact Name												Account #


																										


Company													


																										


Address


																										


City, State, Zip


																										


Phone/Fax/Email





Contact Name											P.O. #


																										


Company


																										


Address


																										


City, State, Zip


																										


Phone/Fax/Email





Date Sampled�
Container 


No. &  Type�
 Location


 Transformer No./Address�
 Serial No.�
 MFR


 Yr Built/Rebuilt�
 Main/LTC � Bank/Phase�
 KVA 


 Temp(°C)�
RUSHY/N�
�
�
DGA








PCE


�
�
�
�



�












Temp�
�
�
�
DGA








PCE


�
�
�
�



�












Temp





�
�
�
�
DGA








PCE


�
�
�
�



�












Temp





�
�
�
�
DGA








PCE


�
�
�
�



�












Temp





�
�
�
Notes:�
Receive Date: __/___/__


Delivery Method:


USPS Fedex UPS DHL


Drop-Off Other_____________�
Send Additional Containers:


____Syringes   _____Poly Bottles


____ Cylinders ______PCB Vials


Date Requested:____/____/____   �
�
 





NETA Guildeline





Basic Analysis	


Metals Analysis


Particle Count


Acid Number


Viscosity


Glycol/Anti-Freeze


     contamination


Additives





DGA EXPERT SYSTEMSTM





Required	


DGA PlusTM        Optional	


Acid                Moisture


IFT                    if >25kv or Silicone


Color No.        Specific Gravity


Visual Exam   Power Factor  25C


Dielectric D877 





Lubrication Fluids





Fully Independent Lab Services





	Main	LTC


	OCB   	REG


Bank #





Phase #





	Main	LTC


	OCB   	REG


Bank #





Phase #





Nitrogen Blanket


Conservator


Free-Breathing Unit


Desiccant


Sealed


Other___________





Nitrogen Blanket


Conservator


Free-Breathing Unit


Desiccant


Sealed


Other___________





Copyright  © 2025








